**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2015-16/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | ALUVIA 200 mg/50 mg TABLETS | | REF. NO: NDQD201508109 |
| **DATE RECEIVED:** 06.08.2015 | **LABEL CLAIM:** | Each film-coated tablet contains Lopinavir 200 mg, Ritonavir 50 mg | |
| **BATCH NO.:** 344348D | **PRESENTATION:** | Brick red coloured, caplet shaped, biconvex faced tablets, embossed with the manufacturer's logo and 'AL' on one face and plain on the other, packed in a white plastic multidose container fitted with a child proof cap carrying 120 tablets. | |
| **MGF. DATE:** Aug.2013 | **MANUFACTURER:** | ABBOTT GmbH & CO. KG. | |
| **EXP. DATE:** Jul.2017 | **ADDRESS:** | Knollstrasse, Ludwigshafen,GERMANY | |
| **CLIENT REF NO:** | **CLIENT:** | National AIDS and STI Control Programme P.O. BOX 19361 Nairobi | |
| LPV/05/16.03.2015/00277 | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight:Weight | B.P. 2012 Vol .V App XII C | NMT 2 tablets deviate by more than 5% from mean weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | Ph. Int. 5th Edition 2015 (Online Version) | RT of the major peaks in the assay sample preparation corresponds to those in the assay standard preparation | Super-imposable peaks at RT 7.6 and 10.0 Â± 10% min. present in both the assay sample and standard | **COMPLIES** |
| **Assay** | :HPLC | Ph. Int. 5th Edition 2015 (Online Version) | 90.0-110.0 | Lopinavir 107.0% (RSD = 0.6% ; n = 6) | **COMPLIES:COMPLIES** |
| **Assay** | :HPLC | Ph. Int. 5th Edition 2015 (Online Version) | 90.0-110.0 | Ritonavir 100.0% (RSD = 0.6% ; n = 6) | **COMPLIES:COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. D. MOENGA |  | DATE:09-08-2015 |
| ANALYST: | DR. G. WANG'ANG'A |  | DATE:01-10-2015 |
| ANALYST: | SERAH MUTERU |  | DATE:10-09-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:10-13-2015 |