**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2016-17/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | Lamivudine 300 mg and Tenofovir Disoproxil Fumarate 300 mg Tablets | | REF. NO: NDQD201508135 |
| **DATE RECEIVED:** 06.08.2015 | **LABEL CLAIM:** | Each film coated tablet contains Tenofovir Disoproxil Fumarate 300 mg equivalent to Tenofovir Disoproxil 245 mg & Lamivudine USP 300 mg. | |
| **BATCH NO.:** BLD1427A | **PRESENTATION:** | White coloured, caplet-shaped, tablets, embossed 'CL 71' on one face and plain on the other, packed in a white plastic multidose container carrying 30 tablets in a unit box. | |
| **MGF. DATE:** Mar.2014 | **MANUFACTURER:** | MACLEODS Pharmaceuticals Ltd | |
| **EXP. DATE:** Feb.2016 | **ADDRESS:** | Village Theda, P.O. Lodhimajra, Tehsil Baddi, Dist. Solan, Himachal Pradesh, 174 101 , Off.: Atlanta Arcade, Marol Church Road, Andheri (E), Mumbai - 400 059, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | National AIDS and STI Control Programme P.O. BOX 19361 Nairobi | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2012 Vol .V App XII C | < 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | Adopted In-House Method | RT of the component Peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peak at RT 3.5 & 8.0 +/- 10% min. present in both the sample and standard assay preparations. | **COMPLIES** |
| **Dissolution** | HPLC | Adopted In-House Method | No tablet less than 85.0% [n=6] | Lamivudine 100.7% (RSD = 0.21%; n=6) | **COMPLIES:COMPLIES** |
| **Dissolution** | HPLC | Adopted In-House Method | No tablet less than 85.0% [n=6] | Tenofovir disoproxil fumarate 100.9% (RSD = 0.26%; n=6) | **COMPLIES:COMPLIES** |
| **Assay** | HPLC | Adopted In-House Method | 90.0-110.0% | Lamivudine 108.4% (RSD = 2.0%; n=9) | **COMPLIES:COMPLIES** |
| **Assay** | HPLC | Adopted In-House Method | 90.0-110.0% | Tenofovir disoproxil fumarate 102.3% (RSD = 2.02%; n=9) | **COMPLIES:COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. M. SANGALE |  | DATE:21-09-2015 |
| REVIEWER: | DR. E. MBAE |  | DATE:25-11-2015 |
| ANALYST: | ERNEST MBAE |  | DATE:12-08-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:01-14-2016 |