**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2015-16/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | TENOFOVIR DISOPROXIL FUMARATE/ LAMIVUDINE/ EFAVIRENZ TABLETS 300 mg/ 300 mg/ 600 mg | | REF. NO: NDQD201508143 |
| **DATE RECEIVED:** 06.08.2015 | **LABEL CLAIM:** | Each film coated tablet contains: Tenofovir disoproxil fumarate 300 mg, Lamivudine USP 300 mg, Efavirenz USP 600 mg. | |
| **BATCH NO.:** 3024469 | **PRESENTATION:** | Off white coloured, caplet-shaped, biconvex faced tablets, embossed 'M 152' on one face and plain on the other, packed in a white plastic multi-dose container carrying 30 tablets in a unit box. | |
| **MGF. DATE:** Mar. 2014 | **MANUFACTURER:** | MYLAN Laboratories Limited. | |
| **EXP. DATE:** Feb. 2016 | **ADDRESS:** | F-4 & F-12, MIDC, Malegaon,Sinnar, Nashik - 422 113, Maharashtra, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | National AIDS and STI Control Programme P.O. BOX 19361 Nairobi | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | B.P. 2012 Vol. V App XII C | < 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | Adopted In - House Method | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT | **COMPLIES** |
| **Identification** | HPLC | Adopted In - House Method | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 3.6, 8.0 and 11.3 +/- 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | Adopted In - House Method | No tablet less than 85.0% [n=6] :No tablet less than 85.0% [n=6]:No tablet less than 80.0% [n=6] | Tenofovir Disoproxil Fumarate 108.4% (RSD = 0.6% ; n = 6) | **COMPLIES:COMPLIES:COMPLIES** |
| **Dissolution** | HPLC | Adopted In - House Method | No tablet less than 85.0% [n=6] :No tablet less than 85.0% [n=6]:No tablet less than 80.0% [n=6] | Lamivudine 100.3% (RSD = 0.7%; n = 6) | **COMPLIES:COMPLIES:COMPLIES** |
| **Dissolution** | HPLC | Adopted In - House Method | No tablet less than 85.0% [n=6] :No tablet less than 85.0% [n=6]:No tablet less than 80.0% [n=6] | Efavirenz 92.0% (RSD = 1.0%; n = 6) | **COMPLIES:COMPLIES:COMPLIES** |
| **Assay** | HPLC | Adopted In - House Method | 90.0 - 110.0% | Tenofovir Disoproxil Fumarate 99.0% (RSD = 1.8%; n = 6) | **COMPLIES:COMPLIES:COMPLIES** |
| **Assay** | HPLC | Adopted In - House Method | 90.0 - 110.0% | Lamivudine 108.0% (RSD = 1.3%; n = 9) | **COMPLIES:COMPLIES:COMPLIES** |
| **Assay** | HPLC | Adopted In - House Method | 90.0 - 110.0% | Efavirenz 100.1% (RSD = 1.3%; n = 9) | **COMPLIES:COMPLIES:COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. M. SANGALE |  | DATE:26-10-2015 |
| REVIEWER: | DR. E. MBAE |  | DATE:16-11-2015 |
| ANALYST: | NICHOLAS MWAURA |  | DATE:11-25-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:12-02-2015 |