**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2015-2016/269

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | POLYMIC TABLETS | | REF. NO: NDQD201509269 |
| **DATE RECEIVED:** 08.09.2015 | **LABEL CLAIM:** | Each film coated tablet contains: Ofloxacin USP 200 mg and Ornidazole 500 mg. | |
| **BATCH NO.:** PB4007 | **PRESENTATION:** | Orange coloured, caplet shaped, biconvex faced tablets, single scored on one face and plain on the other, packed in amber coloured blister strips of 10 tablets each and 10 such strips in a unit box. | |
| **MGF. DATE:** May.2014 | **MANUFACTURER:** | KUSUM Healthcare Pvt. Ltd. | |
| **EXP. DATE:**  Apr.2017 | **ADDRESS:** | SP 289 (A), RIICO, Indl. Area, Chopanki, Bhiwadi (Rajasthan), INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Highridge Pharmaceuticals Ltd. P. O. Box 32982 - 00600, Nairobi, KENYA. | |
| - | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2012 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | Manufacturer's In-House Method | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 3.3 and 4.9 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | Manufacturer's In-House Method | Not less than 80% | Ofloxacin 98.8% (RSD=3.3%; n=6) | **COMPLIES:COMPLIES** |
| **Dissolution** | HPLC | Manufacturer's In-House Method | Not less than 80% | Ornidazole 96.8% (RSD=2.1%; n=6) | **COMPLIES:COMPLIES** |
| **Assay** | HPLC | Manufacturer's In-House Method | 90.0 - 110.0% | Ofloxacin 101.8% (RSD=1.5%; n=9) | **COMPLIES:COMPLIES** |
| **Assay** | HPLC | Manufacturer's In-House Method | 90.0 - 110.0% | Ornidazole 98.7% (RSD=1.3%; n=9) | **COMPLIES:COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | DR. L. KARANJA |  | DATE:29-02-2016 |
| REVIEWER: | DR. E. TANUI |  | DATE:29-02-2016 |
| ANALYST: | NICHOLAS MWAURA |  | DATE:03-01-2016 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:03-01-2016 |