**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2015-16/602

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | CIPEX-250 TABLETS | | REF. NO: NDQD201509294 |
| **DATE RECEIVED:** 29.09.2015 | **LABEL CLAIM:** | Each Film Coated tablet contains: Ciprofloxacin Hydrochloride USP Equivalent to Ciprofloxacin 250 mg, Excipients q.s. | |
| **BATCH NO.:** CIP 501 | **PRESENTATION:** | Off-white coloured, circular shaped, biconvex faced tablets, single-scored on one face and plain on the other, packed in a blister strip of 10 tablets and 10 such strips packed in a unit box. | |
| **MGF. DATE:** Jul. 2015 | **MANUFACTURER:** | MEDICO Remedies Pvt. Ltd. | |
| **EXP. DATE:**  Jul. 2018 | **ADDRESS:** | 8 & 9, Dewan & Sons Udyog Nagar, Palghar, Dist. Thane- Maharashtra, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Medico Remedies Pvt Ltd co Harleys Ltd, Po Box 42718-00100 Nairobi, KENYA | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App. XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | Two Deviates (-5% and +7%) | **COMPLIES** |
| **Identification** | HPLC | USP 38 NF 33 Page 2824 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 8.2 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | UV | USP 38 NF 33 Page 2824 | No Tablet Less than 85% [n=6] | 98.0% (RSD=2.8%; n=6) | **COMPLIES** |
| **Assay** | HPLC | USP 38 NF 33 Page 2824 | 90.0 - 110.0% | 97.1% (RSD=0.8; n=9) | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | DR. J. CHEPCHUMBA |  | DATE:11-04-2016 |
| ANALYST: | DR. M. KWENA |  | DATE:11-04-2016 |
| ANALYST: | ERNEST MBAE |  | DATE:04-12-2016 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:05-09-2016 |