**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2015-16/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | ELLAÂ® CARROT HAND & BODY LOTION | | REF. NO: NDQD201510422 |
| **DATE RECEIVED:** 06.10.2015 | **LABEL CLAIM:** | INGREDIENTS: Water (Aqua), Mineral Oil (Paraffinum Liquidum), Ceto Strearyl Alcohol, GMS, Glycerin, Stearic Acid, Colour, Lanolin, Carrot Extract, Methylparaben, Propylparaben, Fragrance (Perfume). | |
| **BATCH NO.:** 071252 | **PRESENTATION:** | Orange coloured smooth flowing scented lotion , for topical application, contained in a 100 mL white plastic bottle with a white lid. | |
| **MGF. DATE:** Jun. 2012 | **MANUFACTURER:** | MAMUJEE Products. | |
| **EXP. DATE:** Jun. 2016 | **ADDRESS:** | P.o. Box 394 Tanga, TANZANIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Kenya Bureau of Standards P.O. BOX 54974 00200 Nairobi | |
|  | **TEST(S) REQUESTED:** | Identification | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Identification** | :HPLC | BP 2016 Vol. III Page 664 | RT of the Betamethasone and Hydrocortisone Acetate peaks in the sample assay preparation correspond to those in the assay standard preparation | Betamethasone and Hydrocortisone Acetate not detected in the sample preparation |  |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. D. MOENGA |  | DATE:04-12-2015 |
| ANALYST: | DR. G. WANG’ANG’A |  | DATE:04-12-2015 |
| ANALYST: | ERNEST MBAE |  | DATE:12-04-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:12-14-2015 |