**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2015-16/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | BOSSÂ® HAND & BODY LOTION | | REF. NO: NDQD201510423 |
| **DATE RECEIVED:** 06.10.2015 | **LABEL CLAIM:** | INGREDIENTS: Lanette. Purified Water (Aqua), Glycerine, Mineral Oil,Ceto StearylAlcohol, Stearic Acid, Fragrance , TEA, Colour, Parabens and Vitamin complex A, E & F. | |
| **BATCH NO.:** 10/0077258 | **PRESENTATION:** | White coloured smooth flowing scented lotion for topical application , contained in a 100 mL white plastic bottle with a light green cap. | |
| **MGF. DATE:** Apr. 2014 | **MANUFACTURER:** | MAMUJEE Products. | |
| **EXP. DATE:** Apr. 2019 | **ADDRESS:** | P.O. Box 394, Tanga, TANZANIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Kenya Bureau of Standards P.O. BOX 54974 00200 Nairobi | |
|  | **TEST(S) REQUESTED:** | Identification | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Identification** | :HPLC | BP 2016 Volume III Page 664 | RT of the Betamethasone and Hydrocortisone Acetate peaks in the sample assay preparation correspond to those in the assay standard preparation | Betamethasone and Hydrocortisone Acetate not detected in the sample preparation |  |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. D. MOENGA |  | DATE:04-12-2015 |
| ANALYST: | DR. G. WANG’ANG’A |  | DATE:04-12-2015 |
| ANALYST: | ERNEST MBAE |  | DATE:12-04-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:12-14-2015 |