**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2015-16/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | EFAVIRENZ 600 mg TABLETS | | REF. NO: NDQD201510425 |
| **DATE RECEIVED:** 08.10.2015 | **LABEL CLAIM:** | Each film-coated tablet contains Efavirenz 600 mg. | |
| **BATCH NO.:** 7224450 | **PRESENTATION:** | Beige coloured, caplet-shaped, biconvex faced tablets, plain on both faces, packed in a white plastic multidose container carrying 30 tablets in a unit box. | |
| **MGF. DATE:** May. 2015 | **MANUFACTURER:** | STRIDES Arcolab Limited. | |
| **EXP. DATE:** Apr. 2018 | **ADDRESS:** | S-No. 36/7, Suragajakkanahalli, Indlavadi Cross, Anekal Taluk, Bangalore - 562 106, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Christa Cepuch c/o MSF - | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | B.P. 2012 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | Adopted In-House Method | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peaks at RT | **COMPLIES** |
| **Identification** | HPLC | Adopted In-House Method | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | 25.6 +/- 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | Adopted In-House Method | No tablet less than 80.0% [n=6] | 98.3% (n=6; RSD=1.0%) | **COMPLIES** |
| **Assay** | HPLC | Adopted In-House Method | 90.0 % - 110.0% | 102.1%; (n=9; RSD=1.1%) | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | DR. S. MWANGI |  | DATE:02-11-2015 |
| REVIEWER: | DR. G. WANG’ANG’A |  | DATE:04-11-2015 |
| ANALYST: | NICHOLAS MWAURA |  | DATE:11-05-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:11-09-2015 |