**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2016-17/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | MOMENTO SYRUP | | REF. NO: NDQD201510442 |
| **DATE RECEIVED:** 22.10.2015 | **LABEL CLAIM:** | Each 5 mL contain Desloratadine INN 2.5 mg. | |
| **BATCH NO.:** LYE 091 | **PRESENTATION:** | Light pink coloured syrup for oral administration, contained in a 50 mL amber coloured glass bottle, packed along with a 5 mL graduated plastic spoon in a unit box. | |
| **MGF. DATE:** May 2015 | **MANUFACTURER:** | BEXIMCO Pharmaceuticals Ltd. | |
| **EXP. DATE:**  May 2017 | **ADDRESS:** | Tongi, BANGLADESH. | |
| **CLIENT REF NO:** | **CLIENT:** | Madawa Pharmaceuticals Ltd. P.O Box 29787-00202, Nairobi, KENYA. | |
|  | **TEST(S) REQUESTED:** | Microbial Load, Identification, Assay, Acidity/Alkalinity | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Microbial Load** | Microbial Load | BP 2016 Vol. V App XVI B | Total Aerobic Microbial Count (TAMC) NMT 200 CFU/mL:Total Combined Yeass & Mould Count (TYMC) NMT 20 CFU/mL | < 200 TAMC CFU/mL | **COMPLIES:COMPLIES** |
| **Microbial Load** | Microbial Load | BP 2016 Vol. V App XVI B | Total Aerobic Microbial Count (TAMC) NMT 200 CFU/mL:Total Combined Yeass & Mould Count (TYMC) NMT 20 CFU/mL | < 20 TAMC CFU/mL | **COMPLIES:COMPLIES** |
| **Identification** | HPLC | Manufacturer's In-House Method | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 9.1 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Assay** | HPLC | Manufacturer's In-House Method | 90.0 - 110.0% | 94.6% (RSD=0.1%; n=9) | **COMPLIES** |
| **Acidity/Alkalinity** | pH | Manufacturer's In-House Method | 5.00 - 6.00 | 5.42 | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. F. NAULA |  | DATE:13-11-2015 |
| ANALYST: | MR. D. MOENGA |  | DATE:28-01-2016 |
| REVIEWER: | DR. S. MUTERU |  | DATE:09-02-2016 |
| ANALYST: | ERNEST MBAE |  | DATE:02-16-2016 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:02-22-2016 |