**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2015-16/724

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | AIVXIM SUSPENSION | | REF. NO: NDQD201512610 |
| **DATE RECEIVED:** 08.12.2015 | **LABEL CLAIM:** | Each 5 ml of the reconstituted suspension contains: Cefixime (As Trihydrate) USP eq. to Anhydrous Cefixime 100 mg, Excipients q.s. | |
| **BATCH NO.:** CM 5006A | **PRESENTATION:** | Off-white granulated powder for reconstitution into suspension for oral administration, contained in a 60 mL ambered coloured glass bottle, packed along with a 10 mL graduated plastic measuring cap in a unit box. | |
| **MGF. DATE:** Aug. 2015 | **MANUFACTURER:** | ASSOCIATED Biotech. | |
| **EXP. DATE:**  Jul. 2017 | **ADDRESS:** | Village Kishanpura, Guru Majra Road, Nalagarh Road, Baddi, Distt. Solan, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Aiveen (K) LTD P.O. BOX 41601-00100- Nairobi, KENYA | |
|  | **TEST(S) REQUESTED:** | Microbial Load, Identification, Assay, Acidity/Alkalinity | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Identification** |  | USP 38 NF 33 Page 2666 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 13.7 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Assay** |  | USP 38 NF 33 Page 2666 | 90.0 - 120.0 % | Day 1 97.% (RSD=0.7%;n=9) Day 7 96.3% (RSD=0.5%;n=9) | **COMPLIES** |
| **Acidity/Alkalinity** |  | USP 38 NF 33 Page 2666 | 2.5 - 4.5 | 3.9 | **COMPLIES** |
| **Microbial Load** |  | BP 2016 Vol. V App. XVI B | Total Aerobic Microbial Count (TAMC) NMT 200 CFU/mL Total Combined Yeast/ Moulds Count (TYMC) NMT 20 CFU/mL | < 10 CFU/mL < 10 CFU/mL | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | DR. S. MWANGI |  | DATE:24-05-2016 |
| ANALYST: | DR. R. MANANI |  | DATE:24-05-2016 |
| ANALYST: | EMMANUEL TANUI |  | DATE:06-02-2016 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:06-16-2016 |