**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2015-2016/268

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | AIVPOD-200 DISPERSIBLE TABLETS | | REF. NO: NDQD201512614 |
| **DATE RECEIVED:** 08.12.2015 | **LABEL CLAIM:** | Each uncoated dispersible tablet contains: Cefpodoxime Proxetil USP eq. to Cefpodoxime 200mg, Excipients q.s. | |
| **BATCH NO.:** TCPO5018A | **PRESENTATION:** | Pink coloured, circular shaped, biconvex faced tablets, plain on both faces , packed in an aluminium blister strip of 10 tablets in a unit box. | |
| **MGF. DATE:** Aug. 2015 | **MANUFACTURER:** | ASSOCIATED Biotech. | |
| **EXP. DATE:**  Jul. 2017 | **ADDRESS:** | Village Kishanpura, Guru Majra Road, Nalagarh Road, Baddi, Distt. Solan, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Aiveen (K) Ltd. P.O. Box 41601-00100 Nairobi, KENYA | |
| - | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Disintegration, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | USP 38 NF 33 Page 2691 | RT of the component R- and S-epimer peaks in the assay sample preparation corresponds to those in the assay standard preparation | Super-imposable peak at RT 10.2, 11.3 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Disintegration** | Disintegration | BP 2016 Vol. V App. XII A | Tablets disintegrate within 3 minutes [n=6] | Tablets disintegrated within one (1) minute | **COMPLIES** |
| **Assay** | HPLC | USP 38 NF 33 Page 2691 | 90.0 - 110.0 % | 104.5% (RSD=0.6%; n=6) | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | DR. S. MWANGI |  | DATE:29-02-2016 |
| REVIEWER: | DR. S. MUTERU |  | DATE:29-02-2016 |
| ANALYST: | NICHOLAS MWAURA |  | DATE:03-01-2016 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:03-01-2016 |