**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-2017/850

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | AIVCLAV- 625 TABLETS | | **REF. NO: NDQD201512617** |
| **DATE RECEIVED:** 08.12.2015 | **LABEL CLAIM:** | Each film coated tablet contains: Amoxicillin Trihydrate USP equivalent to Amoxicillin 500 mg and Diluted Potassium Clavulanate BP equivalent to Clavulanic acid 125 mg | |
| **BATCH NO.:** ET15D006 | **PRESENTATION:** | Off white coloured, caplet shaped, biconvex faced, sharp edged tablets, plain on both faces, packed in an aluminium foil strip of 7 tablets and 2 such strips in a unit box. | |
| **MGF. DATE:** Aug. 2015 | **MANUFACTURER:** | MEDICEF Pharma. | |
| **EXP. DATE:**  Jul. 2017 | **ADDRESS:** | #28, Phase-I, EPIP Jharmajri , Baddi, Distt. Solan (H.P.) INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | Aiveen (K) LTD P.O. Box 41601-00100 NAIROBI | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | USP 38 NF 33 Page 2227 | RT of the component peaks in the assay sample preparation correspond to those in the standard preparation | Super-imposable peaks at RT 3.5 and 5.2-/+ 10% min present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | USP 38 NF 33 Page 2227 | No tablet less than 90% (n=6) | Amoxicillin Range | **COMPLIES** |
| **Dissolution** |  |  | No tablet less than 85% (n=6) | 90% - 95% (RSD=2.0%, n=6) | **COMPLIES** |
| **Dissolution** |  |  |  | Clavulanic acid Range |  |
| **Dissolution** |  |  |  | 89% - 94% (RSD=1.8%, n=6) |  |
| **Assay** | HPLC | USP 38 NF 33 Page 2227 | 90.0 - 120.0% | Amoxicillin 98.2% (RSD=0.3%, n=9) | **COMPLIES** |
| **Assay** |  |  |  | Clavulanic acid 99.0% (RSD=0.8% n=9) | **COMPLIES** |

**CONCLUSION:** The sample complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | DR. E. MUTUA | .......................................................... | DATE: 10-05-2016 |
| **ANALYST:** | DR. G. WANG'ANG'A | .......................................................... | DATE: 14-06-2016 |
| **ANALYST:** | ERNEST MBAE | .......................................................... | DATE: 07-04-2016 |
| **DIRECTOR:** | HEZEKIAH CHEPKWONY | .......................................................... | DATE: 07-20-2016 |