**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2015-16/499

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | GAMOK(R) 625 mg TABLETS | | REF. NO: NDQD201512631 |
| **DATE RECEIVED:** 10.12.2015 | **LABEL CLAIM:** | Each film - coated tablet contains: Amoxicillin Trihydrate equivalent to Amoxicillin 500 mg and Clavulanate Potassium equivalent to Clavulanic Acid 125 mg. | |
| **BATCH NO.:** 150501 | **PRESENTATION:** | Off white coloured, caplet shaped, biconvex faced tablets, single scored on one face and plain on the other, packed in an aluminium blister strip of 10 tablets in a unit box. | |
| **MGF. DATE:** May 2015 | **MANUFACTURER:** | SINOPHARM Weiqida Pharmaceutical Co., Ltd. | |
| **EXP. DATE:**  May 2017 | **ADDRESS:** | Economic & Technological Development Zone, Datong, Shanxi, CHINA. | |
| **CLIENT REF NO:** | **CLIENT:** | PHARMA SPECIALITIES Ltd P.O. Box 49146- 00100 GPO, Nairobi | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App. XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | USP 38 NF 33 Page 2227 | RT of the component peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT; 3.9 & 5.7 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | USP 38 NF 33 Page 2227 | No tablet less than 90%[n=6] No tablet less than 85% [n=6] | Amoxicillin; 95.2% (RSD=3.1%; n=6) | **COMPLIES:COMPLIES** |
| **Dissolution** | HPLC | USP 38 NF 33 Page 2227 | No tablet less than 90%[n=6] No tablet less than 85% [n=6] | Clavulanic Acid; 96.5% (RSD=6.1%; n=6) | **COMPLIES:COMPLIES** |
| **Assay** | HPLC | USP 38 NF 33 Page 2227 | 90.0 - 120.0% | Amoxicillin; 101.4% (RSD=1.0%; n=9) | **COMPLIES:COMPLIES** |
| **Assay** | HPLC | USP 38 NF 33 Page 2227 | 90.0 - 120.0% | Clavulanic Acid; 104.3% (RSD=1.2%; n=9) | **COMPLIES:COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | DR. E. MUTUA |  | DATE:22-03-2016 |
| ANALYST: | DR. G. WANG'ANG'A |  | DATE:22-03-2016 |
| ANALYST: | ERNEST MBAE |  | DATE:03-24-2016 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:04-13-2016 |