**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-17/111

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | NEUROLIN(TM) 75 CAPSULE | | **REF. NO: NDQD201601647** |
| **DATE RECEIVED:** 05.01.2016 | **LABEL CLAIM:** | Each capsules contains Pregabalin INN 75 mg. | |
| **BATCH NO.:** 511001 | **PRESENTATION:** | Hard gelatin capsules with a green coloured cap and a yellow coloured body, both printed 'Square', filled with an off white powder, packed in a blister strip of 10 capsules and 3 such strips in a unit box. | |
| **MFG. DATE:** Nov. 2015 | **MANUFACTURER:** | SQUARE Pharmaceuticals Ltd | |
| **EXP. DATE:**  Oct. 2017 | **ADDRESS:** | BANGLADESH. | |
| **CLIENT REF NO:** | **CLIENT:** | Ace Pharmaceuticals Ltd, P.O Box 19900-00202, Nairobi, KENYA | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol.V App XII C | NMT 2 capsules deviate by more than 10% from mean capsule weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | Manufacturer's In-House Method | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 6.9 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | Manufacturer's In-House Method | No tablet less than 80% [n=6] | Average = 99% Range 97 - 102% (RSD=2.0%, n=6) | **COMPLIES** |
| **Dissolution** |  |  |  |  |  |
| **Assay** | HPLC | Manufacturer's In-House Method | 90.0 -110.0% | 98.9% (RSD=0.4%, n=9) | **COMPLIES** |

**CONCLUSION:** The sample complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | MR. M. SANGALE | .......................................................... | DATE: 24/08/2016 |
| **ANALYST:** | DR. S. MUTERU | .......................................................... | DATE: 24/08/26 |
| **ANALYST:** | DR. E. MBAE | .......................................................... | DATE: 24/08/216 |
| **DIRECTOR:** | DR. H. K. CHEPKWONY | .......................................................... | DATE: 24/08/216 |