**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-17116

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | MOXAF(TM) 400 mg TABLETS | | **REF. NO: NDQD201602747** |
| **DATE RECEIVED:** 04.02.2016 | **LABEL CLAIM:** | Each tablets contains moxifloxacin hydrochloride 400 mg. | |
| **BATCH NO.:** MX150802 | **PRESENTATION:** | Brick red coloured, caplet shaped, biconvex faced tablets, plain on both faces, packed in a blister strip of 5 tablets in a unit box. | |
| **MFG. DATE:** 17.Aug.2015 | **MANUFACTURER:** | GUILIN Pharmaceutical Co. Ltd. | |
| **EXP. DATE:**  16.Aug.2017 | **ADDRESS:** | No.43 Qilidian Road, Guilin 541004, Guangxi, CHINA. | |
| **CLIENT REF NO:** | **CLIENT:** | PHARMA SPECIALITIES Ltd P.O. Box 49146- 00100 GPO, Nairobi, KENYA | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean tablet weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | Manufacturer's In-House Method | RT of the componet peak in the assay sample preparation corresponds to that in the standard preparation | Super-imposable peak at RT 11.0 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | UV | Manufacturer's In-House Method | No tablet less than 85% [n=6] | Average = 102% Range | **COMPLIES** |
| **Dissolution** |  |  |  | 99 - 106% (RSD=2.6%, n=6) |  |
| **Assay** | HPLC | Manufacturer's In-House Method | 95.0 - 105.0% | 97.8% (RSD=1.9%, n=6) | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | DR. L. KARANJA | .......................................................... | DATE: 24/08/2016 |
| **ANALYST:** | DR. E. MBAE | .......................................................... | DATE: 24/08/-2016 |
| **DIRECTOR:** | DR. H. Y | .......................................................... | DATE: 24/08/2016 |