**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-2017/265

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | TRITINI TABLETS 500 mg | | **REF. NO: NDQD201605935** |
| **DATE RECEIVED:** 12.05.2016 | **LABEL CLAIM:** | Each film coated tablet contains: Tinidazole BP 500 mg | |
| **BATCH NO.:** AN 505 | **PRESENTATION:** | Off-white coloured, caplet shaped, biconvex faced tablets packed in blister strips in a box containing 25 strips of 4 tablets each. | |
| **MFG. DATE:** Jul. 2015 | **MANUFACTURER:** | TRIVENI Formulations Limited | |
| **EXP. DATE:**  Jun. 2018 | **ADDRESS:** | Plot No. 52, ALEAP, Industrial Estate, Surampalli, A.P., INDIA - 521 212 | |
| **CLIENT REF NO:** | **CLIENT:** | Aiveen (K) Ltd. P.O BOX 41601-00100-Nairobi, KENYA | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean weight. | None deviates | **COMPLIES** |
| **Identification** | HPLC | Manufacturer's In-House Method | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 7.1 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | UV | Manufacturer's In-House Method | No tablet less 80% | Average | **COMPLIES** |
| **Dissolution** |  |  |  | 100% Range |  |
| **Dissolution** |  |  |  | 99% - 101% (RSD=0.7%, n=6) |  |
| **Assay** | HPLC | Manufacturer's In-House Method | 95.0% - 105.0% | 101.2% (RSD=0.5%; n=9) | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | JOYFRIDA CHEPCHUMBA | .......................................................... | DATE: 06-22-2016 |
| **REVIEWER:** | NICHOLAS MWAURA | .......................................................... | DATE: 10-10-2016 |
| **ANALYST:** | ERNEST MBAE | .......................................................... | DATE: 10-18-2016 |
| **DIRECTOR:** | HEZEKIAH CHEPKWONY | .......................................................... | DATE: 11-18-2016 |