**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-2017/281

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | MICROGYNON(R) ED Fe TABLETS | | **REF. NO: NDQD2016061133** |
| **DATE RECEIVED:** 03-06-2016 | **LABEL CLAIM:** | 1 beige coloured tablet contains Levonorgestrel 0.15 mg, Ethinylestradiol 0.03 mg and 1 brown tablet contains Ferrous fumarate 75 mg. | |
| **BATCH NO.:** 332A | **PRESENTATION:** | 21 Beige coloured, circular shaped, biconvex faced tablets plain on both faces packed along with 7 brown coloured, circular shaped, biconvex faced tablets in a blister strip and 3 such strips in a printed box. | |
| **MFG. DATE:** Nov. 2011 | **MANUFACTURER:** | BAYER Schering Pharma AG. | |
| **EXP. DATE:**  Nov. 2016 | **ADDRESS:** | GERMANY. | |
| **CLIENT REF NO:** | **CLIENT:** | National AIDS and STI Control Programme, P. O. Box 19361 - 00202, Nairobi, KENYA. | |
| LETF/08/14.03.2016/0173 | **TEST(S) REQUESTED:** | Uniformity of Content, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPENDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Identification** | HPLC | USP 38 NF 33 Page 4087 | Retention time of the major peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 6.3 and 10.0 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | USP 38 NF 33 Page 4087 | No tablet less than 65% | Levonorgestrel Average | **COMPLIES** |
| **Dissolution** |  |  |  | 97% Range |  |
| **Dissolution** |  |  |  | 96 - 99% (RSD=1.3%; n=6) |  |
| **Uniformity of Content** | HPLC | USP 38 NF 33 Page 4087 | Acceptance value of 10 dosage units is NMT 15% | Levonorgestrel AV=1% (n=1) | **COMPLIES** |
| **Uniformity of Content** |  |  |  | Ethinylestradiol AV=3% (n=10) | **COMPLIES** |
| **Assay** | HPLC | Adopted USP 38 NF 33 Page 4087 | 90.0 - 110.0% | Levonorgestrel 102.5% (RSD=0.1%; n=10) | **COMPLIES** |
| **Assay** |  |  |  | Ethinylestradiol 96.1% (RSD=0.2%; n=10) |  |

**CONCLUSION:** The sample complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | JOYFRIDA CHEPCHUMBA | .......................................................... | DATE: 06-10-2016 |
| **ANALYST:** | ERNEST MBAE | .......................................................... | DATE: 10-19-2016 |
| **DIRECTOR:** | HEZEKIAH CHEPKWONY | .......................................................... | DATE: 11-23-2016 |