**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-2017/279

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | MICROGYNON (R) ED Fe TABLETS | | **REF. NO: NDQD2016061135** |
| **DATE RECEIVED:** 03-06-2016 | **LABEL CLAIM:** | One (1) beige coloured tablet contains Levonorgestrel 0.15 mg and Ethinylestradiol 0.03 mg, One (1) brown tablet contains Ferrous fumarate 75 mg. | |
| **BATCH NO.:** 379A | **PRESENTATION:** | 21 beige coloured, circular shaped, biconvex faced tablets packed along with 7 brown coloured, circular shaped, biconvex faced tablets in a blister strip in a printed box containing 3 such strips. | |
| **MFG. DATE:** Apr. 2012 | **MANUFACTURER:** | BAYER Schering Pharma AG | |
| **EXP. DATE:**  Mar. 2017 | **ADDRESS:** | GERMANY. | |
| **CLIENT REF NO:** | **CLIENT:** | National AIDS and STI Control Programme, P. O. Box 19361 - 00202, Nairobi, KENYA. | |
| LETF/02/09.03.2016/0132 | **TEST(S) REQUESTED:** | Uniformity of Content, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPENDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Content** | HPLC | USP 38 NF 33 Page 4087 | Acceptance value AV of 10 dosage units NMT15% | Levonorgestrel AV=1% (n=10) | **COMPLIES** |
| **Uniformity of Content** |  |  |  | Ethinyl estradiol AV=6% (n=10) | **COMPLIES** |
| **Identification** | HPLC | USP 38 NF 33 Page 4087 | Retention time of the major peaks in the assay sample preparation correspond to those in the assay standard preparation | Super-imposable peaks at RT 8.6 and 9.3 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | USP 38 NF 33 Page 4087 | No tablet less than 65% | Levonorgestrel Average | **COMPLIES** |
| **Dissolution** |  |  |  | 97% Range |  |
| **Dissolution** |  |  |  | 95 - 100% (RSD=1.8%; n=6) |  |
| **Assay** | HPLC | Adopted USP 38 NF 33 Page 4087 | 90.0 - 110.0% | Levonorgestrel 101.4% (RSD=0.3%; n=10) | **0** |
| **Assay** |  |  |  | Ethinyl Estradiol 94.8% (RSD=1.1%; n=10) |  |

**CONCLUSION:**

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | JOYFRIDA CHEPCHUMBA | .......................................................... | DATE: 06-10-2016 |
| **ANALYST:** | ERNEST MBAE | .......................................................... | DATE: 10-25-2016 |
| **DIRECTOR:** | HEZEKIAH CHEPKWONY | .......................................................... | DATE: 11-23-2016 |