**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-2017/144

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | LENOR â€“ 72 TABLETS | | **REF. NO: NDQD2016061141** |
| **DATE RECEIVED:** 03-06-2016 | **LABEL CLAIM:** | Each film coated tablet contains: Levonorgestrel BP 0.75 mg. | |
| **BATCH NO.:** E08414003 | **PRESENTATION:** | Off white coloured, circular shaped, biconvex faced tablets, single scored on one face and plain on the other, packed in a blister strip of 2 tablets in a printed box. | |
| **MFG. DATE:** Jun. 2014 | **MANUFACTURER:** | UNICURE Remedies Pvt Ltd. | |
| **EXP. DATE:**  May 2017 | **ADDRESS:** | F/25, BIDC Estate, Gorwa, Baroda â€“ 390 016, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | National AIDS and STI Control Programme, P. O. Box 19361 - 00202, Nairobi, KENYA. | |
| LECP/09/14.03.2016/0251 | **TEST(S) REQUESTED:** | Uniformity of Content, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Content** | HPLC | BP 2016 Vol. III Page 765 | Acceptance value of the ten (10) dosage units is NMT 15% | AV = 2% (n=10) | **COMPLIES** |
| **Identification** | HPLC | BP 2016 Vol. III Page 765 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 6.3 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | HPLC | BP 2016 Vol. III Page 765 | No tablet less than 85% [n=6] | Average = 91% Range | **COMPLIES** |
| **Dissolution** |  |  |  | 83 - 109% (RSD=9.8; n=6) |  |
| **Assay** | HPLC | BP 2016 Vol. III Page 765 | 95.0 - 105.0% | 100.6% (RSD1.0%; n=10) | **COMPLIES** |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | DR. J. CHEPCHUMBA | .......................................................... | DATE: 27-06-2016 |
| **ANALYST:** | DR. S. MUTERU | .......................................................... | DATE: 22-07-2016 |
| **ANALYST:** | ERNEST MBAE | .......................................................... | DATE: 08-03-2016 |
| **DIRECTOR:** | HEZEKIAH CHEPKWONY | .......................................................... | DATE: 10-04-2016 |