**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-2017/243

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | A-ZOLE 2500 BOLUS | | **REF. NO: NDQD2016061187** |
| **DATE RECEIVED:** 21-06-2016 | **LABEL CLAIM:** | Each uncoated bolus contains Albendazole USP 2,500 mg. | |
| **BATCH NO.:** EAK1501 | **PRESENTATION:** | Green coloured, caplet shaped, biconvex faced, sharp edged bolus, plain on one face and single scored on one face and embossed an image of a cow and a camel on either side of the score, packed in aluminium blister strips of 5 boluses and 5 such strips packed in a unit box. | |
| **MFG. DATE:** Aug. 2015 | **MANUFACTURER:** | VETINDIA Pharmaceuticals Limited. | |
| **EXP. DATE:**  Jul.2018 | **ADDRESS:** | A-6/1, Electronic Complex, Kushaiguda Hyderabad - 500062, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | AIVEEN Kenya Ltd., P. O. Box 41601 - 00100, Nairobi, KENYA. | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** | Weight | BP 2016 Vol. V App XII C | NMT 2 boluses deviate by more than 5% from the mean bolus weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | USP 38 NF 33 Page 2066 | RT of the major peak in the sample preparation corresponds to that in the standard preparation | Super-imposable peak at RT 3.7 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Assay** | HPLC | USP 38 NF 33 Page 2066 | 90.0 - 110.0% | 109.0% (RSD=0.6%; n=8) | **COMPLIES** |

**CONCLUSION:** The sample complies with the specifications of the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | MR. M. SANGALE | .......................................................... | DATE: 28-06-2016 |
| **ANALYST:** | DR. S. MUTERU | .......................................................... | DATE: 04-07-2016 |
| **ANALYST:** | GEORGE WANG'ANG'A | .......................................................... | DATE: 11-09-2016 |
| **DIRECTOR:** | HEZEKIAH CHEPKWONY | .......................................................... | DATE: 11-15-2016 |