**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-2017/220

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | OXY-200 L.A. INJECTION | | **REF. NO: NDQD2016061192** |
| **DATE RECEIVED:** 21.06. 2016 | **LABEL CLAIM:** | Each mL contains: Oxytetracycline Dihydrate BP equivalent to 200 mg of anhydrous Oxytetracycline in 2 pyrrrolidine vehicle system. | |
| **BATCH NO.:** L15010 | **PRESENTATION:** | Yellow coloured solution contained in a 100 mL amber coloured glass vial fitted with a red coloured flip off cap packed in a printed box. | |
| **MFG. DATE:** Aug. 2015 | **MANUFACTURER:** | VETINDIA Pharmaceuticals Limited. | |
| **EXP. DATE:**  Jul. 2017 | **ADDRESS:** | A-6/1, Electronic Complex, Kushaiguda Hyderabad - 500062, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | AIVEEN Kenya Ltd., P.O Box 41601-00100, Nairobi, KENYA. | |
|  | **TEST(S) REQUESTED:** | Sterility, Identification, Assay, Acidity/Alkalinity | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Identification** | HPLC | USP 38 NF 33 Page 4723 | RT of the major peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 8.0 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Assay** | HPLC | USP 38 NF 33 Page 4723 | 90.0 - 120.0% | 111.9% (RSD=0.3%; n=9) | **COMPLIES** |
| **Acidity/Alkalinity** | pH | USP 38 NF 33 Page 4723 | 8.0 - 9.0 | 8.5 | **COMPLIES** |
| **Sterility** | Membrane Filtration | BP 2016 Vol V App. XVI A | No microbial growth | No microbial growth | **COMPLIES** |

**CONCLUSION:** The sample complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | MR. M. SANGALE | .......................................................... | DATE: 14-09-2016 |
| **ANALYST:** | MR. E. NGAMAU | .......................................................... | DATE: 14-09-2016 |
| **ANALYST:** | DR . S. MUTERU | .......................................................... | DATE: 14-09-2016 |
| **ANALYST:** | ERNEST MBAE | .......................................................... | DATE: 10-05-2016 |
| **DIRECTOR:** | HEZEKIAH CHEPKWONY | .......................................................... | DATE: 11-02-2016 |