**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:** CAN/2016-2017/76

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | MYDAWA CEFIXIME 400 TABLETS | | **REF. NO: NDQD2016061224** |
| **DATE RECEIVED:** 2016-06-23 | **LABEL CLAIM:** | Each film coated tablet contains cefixime USP as trihydrate equivalent to Anhydrous Cefixime 400 mg | |
| **BATCH NO.:** FK181 | **PRESENTATION:** | Orange coloured, caplet shaped, biconvex faced tablets, plain on both faces, 7 tablets packed in an aluminium blister strip in a unit box | |
| **MFG. DATE:** Apr. 2016 | **MANUFACTURER:** | FINCURE Pharmaceuticals Ltd. | |
| **EXP. DATE:**  Mar. 2018 | **ADDRESS:** | Shimla Pistaur, Malsa Road, Kichha, Udham Singh Nagar. Uttarakhand - 263148, INDIA. | |
| **CLIENT REF NO:** | **CLIENT:** | ION Kenya, Landmark Plaza, Arwings Khodek, Road, P. O. Box 46986-00100, Nairobi, KENYA. | |
|  | **TEST(S) REQUESTED:** | Uniformity of Weight, Identification, Dissolution, Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Uniformity of Weight** |  | BP 2016 Vol. V App XII C | NMT 2 tablets deviate by more than 5% from mean weight | None Deviates | **COMPLIES** |
| **Identification** | HPLC | USP 38 NF 33 Page 2666 | RT of the Major Peak in the assay sample preparation corresponds to that in the assay standard preparation | Super-imposable peak at RT 7.3 -/+ 10% min. present in both the assay sample and standard preparations | **COMPLIES** |
| **Dissolution** | UV | USP 38 NF 33 Page 2666 | No tablet is less than 80% | Average = 102% Range | **COMPLIES** |
| **Dissolution** |  |  |  | 99 -104% (RSD=2.3%, n=6) |  |
| **Assay** | HPLC | USP 38 NF 33 Page 2666 | 90.0 - 110.0% | 100.3% (RSD=1.5%, n=6) | **COMPLIES** |

**CONCLUSION:** The product complies with specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| **ANALYST:** | DR. M. KWENA | .......................................................... | DATE: 26/08/2016 |
| **ANALYST:** | DR.N. MWAURA | .......................................................... | DATE: 6/08/2016 |
| **ANALYST** | DR. E. MBAE | .......................................................... | DATE: 26/08/2016 |
| **DIRECTOR** | DR. H. K.CHEPKWONY | .......................................................... | DATE: 26/08/2016 |
| **ANALYST:** | ERNEST MBAE | .......................................................... | DATE: 09-02-2016 |
| **DIRECTOR:** | HEZEKIAH CHEPKWONY | .......................................................... | DATE: 09-05-2016 |