**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2015-16/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | CYCLOSERINE POWDER WHO PT SAMPLE | | REF. NO: NDQE201507022 |
| **DATE RECEIVED:** 14.07.2015 | **LABEL CLAIM:** | Cycloserine (c.a. 500 mg.) | |
| **BATCH NO.:** 55701 | **PRESENTATION:** | Off white coloured, free flowing powder packed in an amber coloured vial a unit box. | |
| **MGF. DATE:** - | **MANUFACTURER:** | EUROPEAN Directorate for the Quality of Medicines & Healthcare (EDQM), Council of Europe. | |
| **EXP. DATE:** - | **ADDRESS:** | Council of Europe, DBO, OMCL Network, CS 3CC26 - 67C81 Strasbourg, FRANCE. | |
| **CLIENT REF NO:** | **CLIENT:** | World Health Organization - Switzerland Franck CHOW-YUEN 20, Av. Appia 1211 Geneva SWITZERLAND | |
|  | **TEST(S) REQUESTED:** | Water Determination | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Water Determination** | Titration | Proficiency Test Protocol | - | 99.63% (n=3; RSD=0.81%) |  |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. M. SANGALE |  | DATE:07-10-2015 |
| REVIEWER: | DR. E. MBAE |  | DATE:07-10-2015 |
| ANALYST: | NICHOLAS MWAURA |  | DATE:11-04-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:11-09-2015 |