**CERTIFICATE OF ANALYSIS**

**CERTIFICATE No:**  CAN/2015-16/XYZ

|  |  |  |  |
| --- | --- | --- | --- |
| **PRODUCT** | PARACETAMOL 500 mg TABLETS - PROFICIENCY TEST(PT) SAMPLE 2 | | REF. NO: NDQE201510459 |
| **DATE RECEIVED:** 02.10.2015 | **LABEL CLAIM:** | Each tablet contains Paracetamol 500 mg. | |
| **BATCH NO.:** 001 | **PRESENTATION:** | Off white coloured,circular shaped, bevel-edged tablets, plain on both faces, packed in a translucent plastic bottle carrying 10 tablets. | |
| **MGF. DATE:** - | **MANUFACTURER:** | Not Indicated | |
| **EXP. DATE:** - | **ADDRESS:** | Not Indicated | |
| **CLIENT REF NO:** | **CLIENT:** | Pharmaceutical Research and Development Laboratory PO BOX 65013 Dar Es Salaam, Tanzania | |
|  | **TEST(S) REQUESTED:** | Assay | |

**RESULTS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **TEST** | **METHOD** | **COMPEDIA** | **SPECIFICATION** | **DETERMINED** | **REMARKS** |
| **Assay** | UV | Proficiency Test Protocol | - | 384.75 mg per tablet (RSD=1.0%, n=9) |  |

**CONCLUSION:** The product complies with the specifications for the tests performed.

|  |  |  |  |
| --- | --- | --- | --- |
| ANALYST: | MR. D. MOENGA |  | DATE:07-10-2015 |
| REVIEWER: | DR. E. MBAE |  | DATE:26-10-2015 |
| ANALYST: | NICHOLAS MWAURA |  | DATE:11-18-2015 |
| DIRECTOR: | HEZEKIAH CHEPKWONY |  | DATE:11-25-2015 |